## Slide 1
Basic Detection Processes
Energy Loss: Coulomb Interactions
Drift and Diffusion of Charges
Collisional Excitation and Ionization
Avalanche Charge Multiplication
Proportiona Counters
Streamer Transition and Discharge
Gaseous Detectors Physics

## Slide 2
Coulomb Interactions: Excitations and Ionizations
Excitations
Primary ionizations
Secondary ionizations
Excitations due to distant collisions
Ionizations due to distant collisions
Ionizations due to close collisions
ENERGY TRANSFER (keV)
PROBABILITY
H2O
Charged Particles
Clusters
d Ray

## Slide 3
Charged Particles
H. Fischle et al, Nucl. Instr. and Meth. A301 (1991) 202
2 keV
180 µm
Cluster Size and d Electrons Range
ELECTRON RANGES
GASES AT NTP
200C 1 Atm
Cluster size
Probability P(n)
AVERAGE CLUSTER SIZE ~3.5

## Slide 4
L. Scharenberg, MPGD 2022
Energy Loss Asymmetry:
Core Gaussian + Tails
Perpendicular Tracks
Charged Particles
d Electrons
core
tail

## Slide 5
G. Charpak et al, NIM 167 (1979) 455
Energy loss asymmetry:
large incidence angles
Charged Particles
d Electrons
Position Accuracy
vs
Incidence Angle:

## Slide 6
Energy Loss Statistics: Gauss vs Landau
Charged Particles
Gaussian
Landau
Experimental
Differential Energy Loss
in thin Gas Samples:
Minimum Ionizing Particles:
Energy Loss at NTP
He | 0.34 | 5.2 | 9.2
Ar | 2.53 | 25 | 106
Xe | 6.87 | 41 | 312
CO2 | 3.35 | 35 | 100
C4H10 | 5.57 | 90 | 220
GAS
keV/cm
nP ip/cm
nT ip/cm
Review of Particle Physics
Atomic and Nuclear Properties of Materials

## Slide 7
Energy Loss Statistics: Gauss vs Landau
I. Lehraus et al, Phys. Scripta 23(1981)727
Charged Particles
Most Probable Energy Loss
Relativistic Rise Region
0
500
1000
6000
4000
2000
N (i.p)
Counts
0
protons
electrons
15 GeV/c
Thin Single Sample
Energy Loss Distribution:
Improving the Enery Loss
resolution:
Statistical Multisample Analysis

## Slide 8
Particle Identification
Charged Particles
Alice GEM-TPC
Differential Energy Loss (Truncated mean)
Ph. Hauer, Nucl. Instr. Meth. 1039 (2022)167023

## Slide 9
Photons
E
E- EK,L,M..
E
EC
Ee
C
e
E
e+
e-
Photoelectric:
Compton:
Pair Production:
A. Thompson et al, X-RAY DATA BOOKLET (2001)
Photoelectric, Compton, Pair Production
Photon Cross Section vs Energy
Photoelectric

## Slide 10
Soft X-Rays
Absorption Length
in Gases at NTP
55Fe 5.9 keV
3 mm
2 cm
20 cm
100 m

## Slide 11
Soft X-Rays
ESCAPE PEAK
2 cm
4 cm
55Fe 5.9 keV
5.9 keV
~ 2.7 keV
Escape
Main Peak
Argon NTP
EK 3.2 keV
Gaussian
N=220 e-
TOTAL
ESCAPE
s=15 e-

## Slide 12
Detection of Neutrons
n + M -->
protons
tritons
a particles
fission fragments
6Li
10B
3He
Energy (eV)
Cross Section (barn)
Converters:
Gas Counters:

## Slide 13
Mobility of Ions
m =
W
E
__
Drift Velocity:
Mobility:
µ+ ≈ µ-
W=
s
t
__
Mass Dependence:
Collisional Charge Transfer:
A+ + B --> A + B+
If Ei(B) < Ei(A) :
~2-4 cm2s-1V-1
TPC: E=100 V/cm
W+~ 200 cm/s

## Slide 14
Drift and Diffusion of Electrons
Drift Velocity w- = s/t
Diffusion
ek: Characteristic Energy
ek = kT : Thermal Limit
TPC: E=100 V/cm
w- ~ 5 cm/µs

## Slide 15
Drift and Diffusion of Electrons
Longitudinal and Transverse Diffusion
Low Electric Field
High Electric Field
sT
sL
s
Better Longitudinal (Drif) Accuracy

## Slide 16
Drift of Electrons in Magnetic Field
Lorentz Force:
Changes Drift Velocity, Direction and Diffusion
^
Larmor frequency
t : Average time between electron-molecule collisions
//
r
B
s
L
T
s
w
B
Time Projection Chambers:
Better Transverse (X-Y)
Position Resolution
Particular Cases:

## Slide 17
Drift of Electrons in Magnetic Field: E // B
Time Projection Chambers:
Longitudinal Position Accuracy vs Drift Length
B=0
B=2.3 kG
B=8.5 kG
E
B
e-
Depends from Gas and Fields
C. Hargrove et al, Nucl. Instr. Meth. 219(1984)481
Magnetic Field Dependence:
Ar-CH4 (80-20)
ED 250 V/cm
x, y
z
Drift Distance z (cm)
FWHM2 (cm2)

## Slide 18
Electron-Molecule Collisions
Eletron-Molecule Cross Section at Increasing Electric Fields:
https://nl.lxcat.net/home/
Thermal
0.025 eV @ 20 0C
Thermal
0.025 eV @ 20 0C

## Slide 19
Electrons Energy Distribution
Ei=15.7 eV
Ex=10.6 eV
Room Temperature E=0
Electrons in Any Gas:
High Electric Fields: Pure Argon
Ar NTP

## Slide 20
Electrons Energy Distribution
“Cooling” Effect of Molecular Gas Additions
Argon-CO2 (70-30)
Ar and Ar-CO2
100 V/cm

## Slide 21
Inelastic Electron-Molecule Collisions
Major Outcomes of the Electron-Molecule Colllisions
e +A e+A* Excitation
e +A e+e+A+. Ionization
A* A+ g Radiative Deexcitation
e +A+ A+ g Radiative recombination
A++B AB+ g. Radiative recombination
e +M M- + g Radiative capture
A*+A A*2 A+A+g Dimers formation
e +AB AB- A + B- Dissociative capture
e + A+B A-+B Three body collision
A*+B A+B*+e Penning effect (if Ei(B) < Ex(A))
………..
………..
➙
➙
➙
➙
➙
➙
➙
➙
➙
➙
➙
➙
Charge Multiplication
Fluorescence
Improved Energy Loss Resolution

## Slide 22
Fluorescence and Scintillation
Noble Gases and Low Ionization Potential Vapors:
Vacuum UV Near UV Visible

## Slide 23
Fluorescence and Scintillation
F. Brunbauer, CERN GDD (2020)
CF4 Scintillation:
Decay of Excited
Molecular States:
(CF3+)*
and
(CF4+)*

## Slide 24
High Fields : Charge Multiplication
l
E
x
Ions
Electrons
H. Raether
Electron Avalanches and Breakdown in Gases (Butterworth 1964)
a = a(E): Townsend coefficient
Charge Gain
Cloud chamber Images of Avalanches:

## Slide 25
Charge Multiplication
in Argon
A. Sharma and F. Sauli, Nucl. Instr. and Meth. A334(1993)420
Townsend Coefficient a in Ar-Methane Mixtures
Ar-CH4

## Slide 26
Parallel Plate Counter
Parallel Plate Counter
Induced Charge on Anode:
Induced Current on Anode:
s0
-V0
0
eletrons
ions

## Slide 27
Proportional Counter
Single Wire Counter
Rutherford and Geiger (1908)
Radial Electric Field
Drift
Multiplication
Critical Field

## Slide 28
Charge Multiplication
Avalanche Size Probablility
for 1 Primary Electron
(Furry Law):
Avalanche Size Probablility
for n Primary Electrons:

## Slide 29
Charge Multiplication
Avalanche Size Probability at
High Fields (High Gains)
Polya function:
H. Sclumbohm, Zeit. Physik 151(1958)563
Single Electron Avalanche Size
at Increasing Gains (Experimental):

## Slide 30
GASEOUS COUNTERS: MWPCs TO MPGDs
MWPC
MICROMEGAS
GEM
MiroGroove, MicroGap,MicroPixel
Resistive Plate Well ………..
+

## Slide 31
Very High Fields:
Transition Avalanche ➞ Streamer ➞ Discharge
The field is Increased in Front and Behind the Avalanche
Photons are Emitted and Reconverted in the High Field:
Secondary Avalanches Formation:
Tansition to Forward-Backward
Streamer:
DISCHARGE !
Raether Limit: ~ 107 electrons-ions

## Slide 32
Discharge
Destructive Effects of Discharges:
Drift Chamber (1974)
MSGC (1994)
The solutions: Resistive electrodes, multi-step devices, Lower Gains…..

## Slide 33
To Know More on Gaseous Detectors: